LINUX Platform QHYCCD SDK v4.0.12 Library

QHY Camera Test Report

- Test content

EZCAP_QT or SingleFrameSample：Camera connection, disconnection, preview, temperature control, single frame shooting, single frame shooting when exposure stop and then continue shooting.

LIVE DEMO(LiveFrameSample)：Test live Frame。

- test result

| Camera type | LIVE DEMO | EZCAP_QT |
| --- | --- | --- |
| QHY5-II-M | Ok | Ok |
| QHY5L-II-M | Ok | Ok |
| QHY5L-II-C | Ok | Ok |
| QHY5P-II-M | Ok | Ok |
| QHY5P-II-C | Ok | Ok |
| QHY5R-II-C | Ok | Ok |
| mincam5f | Ok | Ok |
| mincam5s | Ok | Ok |
| QHY163-C | Ok | Ok |
| QHY163-M | Ok | Ok |
| QHY183-M | Ok | Ok |
| QHY42-M | Ok | Ok |
| QHY183-C | Ok | Ok |
| QHY174M | Ok | Ok |
| QHY174C | Ok | Ok |
| QHY178M | Ok | Ok |
| QHY178C | Ok | Ok |
| QHY290C | Ok | Ok |
| QHY290M | Ok | Ok |
| QHY367C | Ok | Ok |
| QHY247C | Ok | Ok |
| QHY224C | Ok | Ok |
| QHY128C | Ok | Ok |
| QHY165C | Ok | Ok |
| QHY168C | Ok | Ok |
| QHY5III178C | Ok | Ok |
| QHY5III178M | Acquire image operation success image full black (not sure if it is wrong) |  |
| QHY5III290M | The image acquisition operation was unsuccessful (always downloaded) |  |
| QHY5III290C | Ok | The image acquisition operation was unsuccessful (always downloaded) |
| QHY5III224C | Ok | Ok |
| QHY5III174M | Ok | Ok |
| QHY5III185C | Ok | Ok |
| QHY5 | Not support it | Failure to connect camera |
| QHY8 | Camera not found (system does not download firmware) |  |
| QHY8Pro | Not support it | Ok |
| QHY8L-C | Not support it | Ok |
| QHY10-C | Not support it | Ok |
| QHY12-C | Not support it | EZCAP_QT connection, normal temperature control, preview, photo rush |
| QHY11-M | Not support it | Ok |
| QHY9S-M | Not support it | Ok |
| QHY22-M | Not support it | Ok |
| QHY23-M | Not support it | Ok |
| PoleMaster | Ok | No device found |
| QHY90A | Not support it | 1. EZCAP_QT Connecting Device Program Loss Response 2.SingleFrameSample Acquire correct single frame image |
| QHY16200A | Not support it | 1. EZCAP_QT Connecting Device Program Loss Response 2.SingleFrameSample Acquire correct single frame image |
| QHY695A | Not support it | 1. EZCAP_QT Connecting Device Program Loss Response 2.SingleFrameSample Acquire correct single frame image |
| QHY814A | Not support it | 1. EZCAP_QT Connecting Device Program Loss Response 2.SingleFrameSample Acquire correct single frame image |
| QHY16803 | Firmware download failed You can see the device without downloading the firmware from the lsusb command The device disappears after firmware download |  |